## Sheet1
Survey Project | MRS0801
|  |  |  | (nominal - actual) |  | (nominal - actual)
Line | Description | Notes | closure error (Sh) | closure error (dz) | closure error (Sh) | closure error (dz)
|  |  | meters | meters | mm | mm
MRS01 | survey from NOAA BM to stilliing basin and back to NOAA BM | large closure error | -0.1156 |  | -115.6 | 0
MRS02 | survey from pipe (orange paint next to rebar) to stilling basin and back to pipe | large closure error | 0.13862 |  | 138.62 | 0
MRS03 | short test survey from pipe to TP and back to pipe (did not move instrument) | small closure error (so MRS01 MRS02 error was due to instrument in mud) | -0.00024 |  | -0.24 | 0
MRS04 | survey from pipe (orange paint next to rebar) to stilling basin and back to pipe | medium closure error | -0.00159 | 0.00159 | -1.59 | 1.59
MRS05 | survey for rebar and base of concrete beams | small closure error | 0.00035 | -0.00035 | 0.35 | -0.35
MRS06 | survey from pipe (orange paint next to rebar) to NOAA BM and back to pipe | small closure error | -0.0001 | 0.0001 | -0.1 | 0.1